## Sheet1
Weights calibrated measuring a pure BaSO4 standard, bulk, polished | [10 empty] | Weights unchanged
Area of all peaks is fitted | [10 empty] | Weights changed
A constant shift is maintained across all peaks
Sigma is fixed for all peaks
Had to separate the peak fitting in two groups, otherwise it would not fit
Ba |  | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10
Mz1 |  | 22.235 | 22.294 | 20.239 | 29.21 | 17.632 | 23.077 | 22.803 | 22.897 | 24.059 | 23.089
M5O3 |  | 0.001 | 0.148 | 3.978 | 3.72 | 0.002 | 0.005 | 2.152 | 6.695 | 0.079 | 0
M4O2 |  | 9.945 | 19.498 | 5.196 | 0.005 | 18.043 | 11.214 | 3.967 | 0.477 | 9.796 | 12.244
M3N1 |  | 7.735 | 1.868 | 11.419 | 17.626 | 2.815 | 9.875 | 12.448 | 12.707 | 9.928 | 8.837
Mz1 |  |  |  | 22.354 | 22.398 |  | 22.777 | 20.77 | 20.695 | 19.769 | 23.222
M2N1 |  |  |  | 2.133 | 2.013 |  | 1.487 | 1.805 | 1.559 | 1.639 | 1.976
Mg |  |  |  | 4.717 | 6.187 |  | 7.571 | 5.147 | 6.522 | 6 | 5.338
M2N4 |  |  |  | 4.002 | 4.805 |  | 0.023 | 4.256 | 2.889 | 3.291 | 4.974
Line | Original w | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10 | Mean | Stdev | Er (%)
Mz1 | 1 | [10 empty] | 1 | bar: Meas 1 to Meas 10
M5O3 | 0.02694 | 4.4974e-05 | 0.0066386 | 0.19655 | 0.12735 | 0.00011343 | 0.00021667 | 0.094374 | 0.2924 | 0.0032836 | 0 | 0.072097 | 0.10399 | 144.238
M4O2 | 0.27033 | 0.44727 | 0.87459 | 0.25673 | 0.00017117 | 1.0233 | 0.48594 | 0.17397 | 0.020832 | 0.40717 | 0.5303 | 0.42203 | 0.33513 | 79.4089
M3N1 | 0.18426 | 0.34787 | 0.083789 | 0.56421 | 0.60342 | 0.15965 | 0.42792 | 0.54589 | 0.55496 | 0.41265 | 0.38274 | 0.40831 | 0.17469 | 42.7847
M5O3 + M4O2 + M3N1 | 0.48153 | 0.79519 | 0.96501 | 1.0175 | 0.73095 | 1.1831 | 0.91407 | 0.81423 | 0.86819 | 0.8231 | 0.91303 | 0.90243 | 0.13009 | 14.4157
M2N1 | 0.06664 |  |  | 0.095419 | 0.089874 |  | 0.065285 | 0.086904 | 0.075332 | 0.082908 | 0.085092 | 0.082973 | 0.0099475 | 11.9888
Mg | 0.15465 |  |  | 0.21101 | 0.27623 |  | 0.3324 | 0.24781 | 0.31515 | 0.30351 | 0.22987 | 0.27371 | 0.045788 | 16.7286
M2N4 | 0.12174 |  |  | 0.17903 | 0.21453 |  | 0.0010098 | 0.20491 | 0.1396 | 0.16647 | 0.21419 | 0.15996 | 0.075305 | 47.0766
Mg + M2N4 | 0.27639 |  |  | 0.39004 | 0.49076 |  | 0.33341 | 0.45272 | 0.45475 | 0.46998 | 0.44406 | 0.43367 | 0.053927 | 12.4349
Fits whose peak areas vary, but whose sum is almost cosntant:
So we use the original ratios to diustribute the sum among the peaks, giving:
M5O3 + M4O2 + M3N1 | M5O3 | Meas 1: M4O2; Meas 2: M3N1; Meas 3: Sum
Original ratio | 0.055947 | Meas 1: 0.5614; Meas 2: 0.38265
Resulting weights: | 0.050488 | Meas 1: 0.50663; Meas 2: 0.34532; Meas 3: 0.90243
|  | Without fixing the peaks above: | [8 empty] | Fixing the peaks: