## Sheet1
Weights calibrated measuring a pure Ti standard, bulk, polished
Area of all peaks is fitted
A constant shift is maintained across all peaks
Sigma is fixed for all peaks
Areas of peaks Lb1 and Lg5 fixed to previously fitted values
Co |  | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10
La1 |  | 1785.219 | 1783.22 | 1789.937 | 1797.119 | 1816.019 | 1782.777 | 1795.57 | 1803.711 | 1768.614 | 1775.796
Ll |  | 474.282 | 483.823 | 491.909 | 490.775 | 480.944 | 460.57 | 478.217 | 499.245 | 470.322 | 458.976
Ln |  | 88.939 | 81.116 | 69.319 | 61.207 | 94.519 | 98.757 | 78.172 | 76.642 | 92.364 | 90.209
Lb1 |  | 147.102 | 146.937 | 147.491 | 148.083 | 149.64 | 146.901 | 147.955 | 148.626 | 145.734 | 146.326
Lg5 |  | 3.071 | 3.067 | 3.079 | 3.091 | 3.124 | 3.066 | 3.088 | 3.102 | 3.042 | 3.054
Lb3 |  | 26.707 | 0.016 | 14.952 | 0 | 0.044 | 14.787 | 28.79 | 26.568 | 13.247 | 30.257
Lb4 |  | 0.102 | 25.825 | 14.954 | 27.202 | 26.264 | 14.787 | 0.019 | 0.023 | 13.135 | 0.015
Line | Original w | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10 | Mean | Stdev | Er (%)
La1 | 1 | [10 empty] | 1 | bar: Meas 1 to Meas 10
Ll | 0.242 | 0.26567 | 0.27132 | 0.27482 | 0.27309 | 0.26483 | 0.25834 | 0.26633 | 0.27679 | 0.26593 | 0.25846 | 0.26756 | 0.0063721 | 2.3816
Ln | 0.0555 | 0.04982 | 0.045488 | 0.038727 | 0.034058 | 0.052047 | 0.055395 | 0.043536 | 0.042491 | 0.052224 | 0.050799 | 0.046459 | 0.0067761 | 14.5851
Ll + Ln | 0.2975 | 0.31549 | 0.31681 | 0.31355 | 0.30715 | 0.31688 | 0.31374 | 0.30987 | 0.31928 | 0.31815 | 0.30926 | 0.31402 | 0.004086 | 1.3012
Lb1 | 0.0824 | 0.0824 | 0.0824 | 0.0824 | 0.0824 | 0.0824 | 0.0824 | 0.0824 | 0.0824 | 0.0824 | 0.0824 | 0.0824 | 1.219e-07 | 0.00014794
Lg5 | 0.00172 | 0.0017202 | 0.0017199 | 0.0017202 | 0.00172 | 0.0017202 | 0.0017198 | 0.0017198 | 0.0017198 | 0.00172 | 0.0017198 | 0.00172 | 1.8918e-07 | 0.010999
Lb1 + Lg5 | 0.08412 | 0.08412 | 0.08412 | 0.08412 | 0.08412 | 0.08412 | 0.08412 | 0.08412 | 0.08412 | 0.08412 | 0.08412 | 0.08412 | 1.9807e-07 | 0.00023546
Lb3 | 0.0102 | 0.01496 | 8.9725e-06 | 0.0083534 | 0 | 2.4229e-05 | 0.0082944 | 0.016034 | 0.01473 | 0.00749 | 0.017039 | 0.0086933 | 0.0068888 | 79.2429
Lb4 | 0.00547 | 5.7136e-05 | 0.014482 | 0.0083545 | 0.015136 | 0.014462 | 0.0082944 | 1.0582e-05 | 1.2751e-05 | 0.0074267 | 8.4469e-06 | 0.0068246 | 0.0064637 | 94.7126
Lb3 + Lb4 | 0.01567 | 0.015017 | 0.014491 | 0.016708 | 0.015136 | 0.014487 | 0.016589 | 0.016044 | 0.014742 | 0.014917 | 0.017047 | 0.015518 | 0.00098063 | 6.3194
The fitting of peaks Lb3 + Lb4 varies, but their sum is more or less constant |  | Meas 6: The fitting of peaks Ll + Ln varies, but their sum is more or less constant
So we use the original ratios to diustribute the sum among the 2 peaks, giving: |  | Meas 6: So we use the original ratios to diustribute the sum among the 2 peaks, giving:
| Lb3 | Meas 1: Lb4; Meas 2: Sum; Meas 7: Ll; Meas 8: Ln; Meas 9: Sum
Original ratio | 0.65093 | Meas 1: 0.34907; Meas 6: Original ratio; Meas 7: 0.81345; Meas 8: 0.18655
Resulting weights: | 0.010101 | 0.0054169 | 0.015518 |  |  |  | Resulting weights: | 0.25544 | 0.058581 | 0.31402
| Lb1 | Meas 1: Lg5; Meas 2: Sum
Original ratio | 0.97955 | Meas 1: 0.020447
Resulting weights: | 0.0824 | Meas 1: 0.00172; Meas 2: 0.08412
|  | Without fixing the peaks above: | [8 empty] | Fixing the peaks above: