## Sheet1
Weights calibrated measuring a pure Hf standard, bulk, polished | [6 empty] | M3_O5 added despite beiong missing from NIST databse, because it seemed like it was present in the spectra
Area of all peaks is fitted
A constant shift or broadening is maintained across all peaks
Hf |  | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10
Ma1 |  | 354.802 | 349.265 | 343.81 | 353.728 | 349.454 | 342.047 | 359.038 | 353.316 | 352.259 | 313.456
Mb |  | 177.243 | 194.295 | 193.656 | 191.631 | 196.457 | 205.363 | 185.888 | 177.681 | 196.407 | 161.752
M2N1 |  | 4.281 | 3.904 | 1.818 | 3.572 | 3.843 | 4.51 | 4.428 | 3.484 | 3.042 | 5.309
M3N4 |  | 0 | 0.1 | 6.418 | 1.269 | 0.242 | 0 | 0.016 | 0.951 | 0.002 | 0.005
Mg |  | 12.565 | 13.92 | 7.092 | 11.541 | 12.445 | 13.552 | 11.555 | 10.008 | 14.15 | 10.717
M3N4 + Mg |  | 12.565 | 14.02 | 13.51 | 12.81 | 12.687 | 13.552 | 11.571 | 10.959 | 14.152 | 10.722
M3O1 |  | 12.1 | 13.014 | 12.602 | 12.638 | 13.827 | 11.63 | 13.152 | 10.808 | 13.787 | 9.962
M3O4 |  | 1.974 | 2.19 | 0.207 | 0.001 | 0.404 | 0.078 | 3.201 | 3.13 | 0.108 | 2.491
M3O5 |  | 1.691 | 0 | 0.652 | 2.734 | 0.016 | 2.311 | 0 | 0.006 | 0.015 | 0.026
M3O4 + M3O5 |  | 3.665 | 2.19 | 0.859 | 2.735 | 0.42 | 2.389 | 3.201 | 3.136 | 0.123 | 2.517
M2N4 |  | 6.205 | 7.629 | 8.11 | 6.712 | 8.525 | 7.361 | 5.541 | 5.192 | 9.582 | 5.221
M1N3 |  | 2.086 | 2.296 | 1.893 | 1.51 | 1.11 | 2.507 | 2.707 | 2.652 | 1.336 | 2.243
Ma1 |  | 349.486 | 351.904 | 349.765 | 353.81 | 352.031 | 347.5 | 355.794 | 348.345 | 354.672 | 310.893
N5N6 |  | 1.856 | 1.638 | 1.235 | 2.381 | 2.14 | 1.197 | 2.29 | 1.413 | 2.198 | 0.211
N4N6 |  | 0 | 0.296 | 0.556 | 0.001 | 0.001 | 1.165 | 0 | 0 | 0.242 | 2.701
N5N6 + N4N6 |  | 1.856 | 1.934 | 1.791 | 2.382 | 2.141 | 2.362 | 2.29 | 1.413 | 2.44 | 2.912
Ma1 |  | 349.526 | 352.131 | 350.041 | 353.919 | 352.074 | 350.559 | 355.647 | 347.613 | 355.214 | 351.853
Mz1 |  | 23.74 | 24.087 | 24.482 | 24.293 | 24.28 | 23.545 | 24.661 | 22.884 | 24.21 | 23.571
Mz2 |  | 23.74 | 24.089 | 24.482 | 24.293 | 24.28 | 23.545 | 24.661 | 22.884 | 24.21 | 23.571
Mz1 + Mz2 |  | 47.48 | 48.176 | 48.964 | 48.586 | 48.56 | 47.09 | 49.322 | 45.768 | 48.42 | 47.142
M3N1 |  | 9.571 | 9.241 | 8.435 | 9.433 | 9.922 | 6.4 | 10.626 | 13.428 | 7.418 | 11.234
Line | Original w | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10 | Mean | Stdev | Er (%)
Ma1 | 1 | [10 empty] | 1 | bar: Meas 1 to Meas 10
Mb | 0.59443 | 0.49955 | 0.5563 | 0.56326 | 0.54175 | 0.56218 | 0.60039 | 0.51774 | 0.5029 | 0.55756 | 0.51603 | 0.54177 | 0.032162 | 5.9365
M2N1 | 0.0056 | 0.012066 | 0.011178 | 0.0052878 | 0.010098 | 0.010997 | 0.013185 | 0.012333 | 0.0098609 | 0.0086357 | 0.016937 | 0.011058 | 0.0030416 | 27.5067
M3N4 | 0.001 | 0 | 0.00028632 | 0.018667 | 0.0035875 | 0.00069251 | 0 | 4.4564e-05 | 0.0026916 | 5.6776e-06 | 1.5951e-05 | 0.0025991 | 0.0057888 | 222.7191
Mg | 0.08505 | 0.035414 | 0.039855 | 0.020628 | 0.032627 | 0.035613 | 0.03962 | 0.032183 | 0.028326 | 0.040169 | 0.03419 | 0.033862 | 0.0060054 | 17.7345
M3N4 + Mg | 0.08605 | 0.035414 | 0.040141 | 0.039295 | 0.036214 | 0.036305 | 0.03962 | 0.032228 | 0.031018 | 0.040175 | 0.034206 | 0.036462 | 0.0033195 | 9.104
M3O1 | Did not exist in NIST database for Hf | 0.034104 | 0.037261 | 0.036654 | 0.035728 | 0.039567 | 0.034001 | 0.036631 | 0.03059 | 0.039139 | 0.031781 | 0.035546 | 0.0029375 | 8.2641
M3O4 | Did not exist in NIST database for Hf | 0.0055637 | 0.0062703 | 0.00060208 | 2.827e-06 | 0.0011561 | 0.00022804 | 0.0089155 | 0.0088589 | 0.00030659 | 0.0079469 | 0.0039851 | 0.0038647 | 96.9801
M3O5 | Did not exist in NIST database for Hf | 0.004766 | 0 | 0.0018964 | 0.0077291 | 4.5786e-05 | 0.0067564 | 0 | 1.6982e-05 | 4.2582e-05 | 8.2946e-05 | 0.0021336 | 0.0030946 | 145.038
M3O4 + M3O5 | Did not exist in NIST database for Hf | 0.01033 | 0.0062703 | 0.0024985 | 0.0077319 | 0.0012019 | 0.0069844 | 0.0089155 | 0.0088759 | 0.00034917 | 0.0080298 | 0.0061187 | 0.003508 | 57.3319
M2N4 | 0.01 | 0.017489 | 0.021843 | 0.023589 | 0.018975 | 0.024395 | 0.02152 | 0.015433 | 0.014695 | 0.027202 | 0.016656 | 0.02018 | 0.0041764 | 20.6962
M1N3 | Did not exist in NIST database for Hf | 0.0058793 | 0.0065738 | 0.0055059 | 0.0042688 | 0.0031764 | 0.0073294 | 0.0075396 | 0.007506 | 0.0037927 | 0.0071557 | 0.0058728 | 0.0016333 | 27.8117
N5N6 | 0.01 | 0.0053107 | 0.0046547 | 0.0035309 | 0.0067296 | 0.006079 | 0.0034446 | 0.0064363 | 0.0040563 | 0.0061973 | 0.00067869 | 0.0047118 | 0.0018613 | 39.5023
N4N6 | 0.01 | 0 | 0.00084114 | 0.0015896 | 2.8264e-06 | 2.8407e-06 | 0.0033525 | 0 | 0 | 0.00068232 | 0.0086879 | 0.0015159 | 0.0027374 | 180.5751
N5N6 + N4N6 | 0.02 | 0.0053107 | 0.0054958 | 0.0051206 | 0.0067324 | 0.0060819 | 0.0067971 | 0.0064363 | 0.0040563 | 0.0068796 | 0.0093666 | 0.0062277 | 0.0014235 | 22.8583
Mz1 | 0.06 | 0.067921 | 0.068404 | 0.06994 | 0.06864 | 0.068963 | 0.067164 | 0.069341 | 0.065832 | 0.068156 | 0.066991 | 0.068135 | 0.001217 | 1.7861
Mz2 | 0.01 | 0.067921 | 0.068409 | 0.06994 | 0.06864 | 0.068963 | 0.067164 | 0.069341 | 0.065832 | 0.068156 | 0.066991 | 0.068136 | 0.0012171 | 1.7863
Mz1 + Mz2 | 0.07 | 0.13584 | 0.13681 | 0.13988 | 0.13728 | 0.13793 | 0.13433 | 0.13868 | 0.13166 | 0.13631 | 0.13398 | 0.13627 | 0.0024341 | 1.7862
M3N1 | 0.02901 | 0.027383 | 0.026243 | 0.024097 | 0.026653 | 0.028182 | 0.018257 | 0.029878 | 0.038629 | 0.020883 | 0.031928 | 0.027213 | 0.0056948 | 20.9266
The fitting of peaks M3N4 + Mg + M2N1 varies, but their sum is constant and equal to 0.0105
So we use the original ratios to diustribute the sum among the 3 peaks, giving:
| M3N4 | Meas 1: Mg; Meas 2: Sum; Meas 7: M3O4; Meas 8: M3O5; Meas 9: Sum
Original ratio | 0.011621 | Meas 1: 0.98838; Meas 6: Original ratio; Meas 7: 0.090909; Meas 8: 0.90909; Meas 10: These peaks were missing from NIST database. We use ratios from W
Resulting weights: | 0.00042373 | 0.036038 | 0.036462 |  |  |  | Resulting weights: | 0.00055625 | 0.0055625 | 0.0061187
| N5N6 | Meas 1: N4N6; Meas 2: Sum; Meas 7: Mz1; Meas 8: Mz2; Meas 9: Sum
Original ratio | 0.5 | Meas 1: 0.5; Meas 6: Original ratio; Meas 7: 0.85714; Meas 8: 0.14286
Resulting weights: | 0.0031139 | 0.0031139 | 0.0062277 |  |  |  | Resulting weights: | 0.1168 | 0.019467 | 0.13627
Without fixing the peaks above: |  | Meas 10: Fixing the peaks above:
Missing peaks at 2.1 keV! We added them, because present in Ta
| Added peaks: | Meas 1: M1-N3; Meas 2: M3-O1; Meas 3: M3-O4; Meas 4: M3-O5
Energy determined by excel, fitting higher energy elements and extrapolating