## Sheet1
Weights calibrated measuring a pure Ti standard, bulk, polished
Area of all peaks is fitted
A constant shift is maintained across all peaks
Sigma is fixed for all peaks
Areas of peaks Lb1 and Lg5 fixed to previously fitted values
Mn |  | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10
La1 |  | 726.856 | 703.297 | 712.773 | 700.794 | 706.045 | 717.275 | 701.423 | 696.148 | 710.565 | 719.183
Ll |  | 392.176 | 413.222 | 381.651 | 343.977 | 401.114 | 421.584 | 400.234 | 383.388 | 414.062 | 389.765
Ln |  | 234.843 | 183.184 | 217.141 | 225.212 | 188.046 | 178.135 | 189.251 | 190.02 | 198.349 | 212.388
Lb1 |  | 363.428 | 351.648 | 356.386 | 350.397 | 353.022 | 358.638 | 350.711 | 348.074 | 355.283 | 359.591
Lg5 |  | 12.575 | 12.167 | 12.331 | 12.124 | 12.215 | 12.409 | 12.135 | 12.043 | 12.293 | 12.442
Lb3 |  | 9.141 | 8.479 | 9.117 | 10.635 | 11.287 | 9.516 | 10.754 | 11.508 | 9.372 | 9.395
Lb4 |  | 9.141 | 8.48 | 9.116 | 10.635 | 11.287 | 9.516 | 10.754 | 11.508 | 9.372 | 9.395
Line | Original w | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10 | Mean | Stdev | Er (%)
La1 | 1 | [10 empty] | 1 | bar: Meas 1 to Meas 10
Ll | 0.597 | 0.53955 | 0.58755 | 0.53545 | 0.49084 | 0.56811 | 0.58776 | 0.5706 | 0.55073 | 0.58272 | 0.54196 | 0.55553 | 0.030258 | 5.4467
Ln | 0.0706 | 0.32309 | 0.26046 | 0.30464 | 0.32137 | 0.26634 | 0.24835 | 0.26981 | 0.27296 | 0.27914 | 0.29532 | 0.28415 | 0.025739 | 9.0582
Ll + Ln | 0.6676 | 0.86265 | 0.84801 | 0.84009 | 0.81221 | 0.83445 | 0.83611 | 0.84041 | 0.82369 | 0.86186 | 0.83727 | 0.83968 | 0.015443 | 1.8391
Lb1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 5.7915e-07 | 0.00011583
Lg5 | 0.0173 | 0.017301 | 0.0173 | 0.0173 | 0.0173 | 0.017301 | 0.0173 | 0.017301 | 0.017299 | 0.0173 | 0.0173 | 0.0173 | 3.3941e-07 | 0.0019619
Lb1 + Lg5 | 0.5173 | 0.5173 | 0.5173 | 0.5173 | 0.5173 | 0.5173 | 0.5173 | 0.5173 | 0.5173 | 0.5173 | 0.5173 | 0.5173 | 6.556e-07 | 0.00012674
Lb3 | 0.0178 | 0.012576 | 0.012056 | 0.012791 | 0.015176 | 0.015986 | 0.013267 | 0.015332 | 0.016531 | 0.01319 | 0.013063 | 0.013997 | 0.0015933 | 11.3831
Lb4 | 0.00946 | 0.012576 | 0.012057 | 0.012789 | 0.015176 | 0.015986 | 0.013267 | 0.015332 | 0.016531 | 0.01319 | 0.013063 | 0.013997 | 0.0015932 | 11.3825
Lb3 + Lb4 | 0.02726 | 0.025152 | 0.024114 | 0.02558 | 0.030351 | 0.031972 | 0.026534 | 0.030663 | 0.033062 | 0.026379 | 0.026127 | 0.027993 | 0.0031864 | 11.3828
The fitting of peaks Lb3 + Lb4 varies, but their sum is more or less constant |  | Meas 6: The fitting of peaks Ll + Ln varies, but their sum is more or less constant
So we use the original ratios to diustribute the sum among the 2 peaks, giving: |  | Meas 6: So we use the original ratios to diustribute the sum among the 2 peaks, giving:
| Lb3 | Meas 1: Lb4; Meas 2: Sum; Meas 7: Ll; Meas 8: Ln; Meas 9: Sum
Original ratio | 0.65297 | Meas 1: 0.34703; Meas 6: Original ratio; Meas 7: 0.89425; Meas 8: 0.10575
Resulting weights: | 0.018279 | 0.0097145 | 0.027993 |  |  |  | Resulting weights: | 0.75088 | 0.088797 | 0.83968
| Lb1 | Meas 1: Lg5; Meas 2: Sum
Original ratio | 0.96656 | Meas 1: 0.033443
Resulting weights: | 0.5 | Meas 1: 0.0173; Meas 2: 0.5173
|  | Without fixing the peaks above: | [8 empty] | Fixing the peaks above: