## Sheet1
Weights calibrated measuring a pure Sc standard, bulk, polished
Area of all peaks is fitted
A constant shift is maintained across all peaks
Sigma is fixed for all peaks
Areas of peaks La2, Lb17 and Lg5 are fixed on original weights because strongly overlapping with La1
Sc |  | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10
La1 |  | 46.571 | 44.526 | 43.982 | 48.159 | 43.397 | 44.517 | 44.146 | 46.228 | 43.437 | 40.395
Ll |  | 91.931 | 83.918 | 102.549 | 82.363 | 73.093 | 87.136 | 77.368 | 98.322 | 85.584 | 93.338
Ln |  | 13.632 | 31.642 | 9.317 | 22.518 | 22.731 | 28.872 | 30.802 | 9.57 | 23.497 | 0.063
Lb3 |  | 1.501 | 1.744 | 1.141 | 2.059 | 1.67 | 1.39 | 1.822 | 1.479 | 1.733 | 1.407
Lb4 |  | 1.501 | 1.744 | 1.141 | 2.059 | 1.67 | 1.39 | 1.822 | 1.479 | 1.733 | 1.407
Line | Original w | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10 | Mean | Stdev | Er (%)
La1 | 1 | [10 empty] | 1 | bar: Meas 1 to Meas 10
Ll | 1 | 1.974 | 1.8847 | 2.3316 | 1.7102 | 1.6843 | 1.9574 | 1.7525 | 2.1269 | 1.9703 | 2.3106 | 1.9703 | 0.2298 | 11.6633
Ln | 0.488 | 0.29271 | 0.71064 | 0.21184 | 0.46758 | 0.52379 | 0.64856 | 0.69773 | 0.20702 | 0.54094 | 0.0015596 | 0.43024 | 0.24047 | 55.8933
Ll + Ln | 1.488 | 2.2667 | 2.5953 | 2.5434 | 2.1778 | 2.2081 | 2.6059 | 2.4503 | 2.3339 | 2.5112 | 2.3122 | 2.4005 | 0.16059 | 6.6897
Lb3 | 0.105 | 0.03223 | 0.039168 | 0.025942 | 0.042754 | 0.038482 | 0.031224 | 0.041272 | 0.031994 | 0.039897 | 0.034831 | 0.035779 | 0.0053738 | 15.0193
Lb4 | 0.055 | 0.03223 | 0.039168 | 0.025942 | 0.042754 | 0.038482 | 0.031224 | 0.041272 | 0.031994 | 0.039897 | 0.034831 | 0.035779 | 0.0053738 | 15.0193
Lb3 + Lb4 | 0.16 | 0.064461 | 0.078336 | 0.051885 | 0.085508 | 0.076964 | 0.062448 | 0.082544 | 0.063987 | 0.079794 | 0.069662 | 0.071559 | 0.010748 | 15.0193
The fitting of peaks Lb3 + Lb4 varies, but their sum is more or less constant |  | Meas 6: The fitting of peaks Ll + Ln varies, but their sum is more or less constant
So we use the original ratios to diustribute the sum among the 2 peaks, giving: |  | Meas 6: So we use the original ratios to diustribute the sum among the 2 peaks, giving:
| Lb3 | Meas 1: Lb4; Meas 2: Sum; Meas 7: Ll; Meas 8: Ln; Meas 9: Sum
Original ratio | 0.65625 | Meas 1: 0.34375; Meas 6: Original ratio; Meas 7: 0.67204; Meas 8: 0.32796
Resulting weights: | 0.046961 | 0.024598 | 0.071559 |  |  |  | Resulting weights: | 1.6132 | 0.78726 | 2.4005
|  | Without fixing the peaks above: | [8 empty] | Fixing the peaks above: