## Sheet1
Weights calibrated measuring a pure Ta standard, bulk, polished | [6 empty] | M3_O5 added despite beiong missing from NIST databse, because it seemed like it was present in the spectra
Area of all peaks is fitted
A constant shift or broadening is maintained across all peaks
Kept weights around M2-N4 set to 0, as per original NIST file, but these peaks are probably present given the shape of the peak
Ta |  | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10
Ma1 |  | 335.308 | 343.601 | 352.292 | 352.809 | 342.596 | 341.541 | 336.454 | 341.18 | 328.283 | 344.779
Mz1 |  | 45.345 | 0 | 0 | 0 | 17.421 | 3.109 | 44.407 | 0 | 32.461 | 21.469
Mz2 |  | 0.003 | 43.666 | 44.419 | 44.374 | 28.525 | 43.695 | 0 | 45.209 | 15.177 | 23.482
Mz1 + Mz2 |  | 45.348 | 43.666 | 44.419 | 44.374 | 45.946 | 46.804 | 44.407 | 45.209 | 47.638 | 44.951
M3N1 |  | 10.413 | 9.75 | 6.332 | 6.125 | 6.636 | 9.608 | 4.758 | 8.833 | 9.041 | 6.283
Mb |  | 216.639 | 201.971 | 207.455 | 206.545 | 232.832 | 215.41 | 218.843 | 214.48 | 218.407 | 215.615
M2N1 |  | 2.684 | 2.17 | 2.873 | 3.157 | 3.974 | 2.733 | 3.615 | 3.261 | 4.797 | 2.222
Mg |  | 12.168 | 12.373 | 13.859 | 14.326 | 13.824 | 13.502 | 14.876 | 12.249 | 14.297 | 13.081
M3O1 |  | 0 | 0.004 | 0 | 0.375 | 0.039 | 0.327 | 0.182 | 0 | 0.991 | 0.297
M2N4 |  | 3.265 | 3.19 | 3.102 | 4.033 | 4.795 | 4.361 | 4.157 | 3.234 | 4.27 | 4.145
N5N6 |  | 1.461 | 0.285 | 0 | 0.958 | 2.01 | 2.4 | 0.543 | 1.993 | 1.955 | 1.002
N4N6 |  | 1.134 | 2.236 | 2.527 | 1.91 | 0 | 0.005 | 2.351 | 0 | 0 | 0.007
N5N6 + N4N6 |  | 2.595 | 2.521 | 2.527 | 2.868 | 2.01 | 2.405 | 2.894 | 1.993 | 1.955 | 1.009
Line | Original w | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10 | Mean | Stdev | Er (%)
Ma1 | 1 | [10 empty] | 1 | bar: Meas 1 to Meas 10
Mz1 | 0.02796 | 0.13523 | 0 | 0 | 0 | 0.05085 | 0.0091029 | 0.13199 | 0 | 0.098881 | 0.062269 | 0.048832 | 0.055962 | 114.6011
Mz2 | 0.09379 | 8.947e-06 | 0.12708 | 0.12609 | 0.12577 | 0.083261 | 0.12793 | 0 | 0.13251 | 0.046231 | 0.068107 | 0.083699 | 0.053171 | 63.5267
Mz1+Mz2 | 0.12175 | 0.13524 | 0.12708 | 0.12609 | 0.12577 | 0.13411 | 0.13704 | 0.13199 | 0.13251 | 0.14511 | 0.13038 | 0.13253 | 0.0058716 | 4.4303
M3N1 | 0.0301 | 0.031055 | 0.028376 | 0.017974 | 0.017361 | 0.01937 | 0.028131 | 0.014142 | 0.02589 | 0.02754 | 0.018223 | 0.022806 | 0.005965 | 26.1554
Mb | 0.47699 | 0.64609 | 0.58781 | 0.58887 | 0.58543 | 0.67961 | 0.6307 | 0.65044 | 0.62864 | 0.6653 | 0.62537 | 0.62883 | 0.033086 | 5.2616
M2N1 | 0.01048 | 0.0080046 | 0.0063155 | 0.0081552 | 0.0089482 | 0.0116 | 0.008002 | 0.010744 | 0.009558 | 0.014612 | 0.0064447 | 0.0092385 | 0.0025272 | 27.3557
Mg | 0.03388 | 0.036289 | 0.03601 | 0.03934 | 0.040606 | 0.040351 | 0.039533 | 0.044214 | 0.035902 | 0.043551 | 0.03794 | 0.039373 | 0.0029499 | 7.492
M3O1 | 0.00246 | 0 | 1.1641e-05 | 0 | 0.0010629 | 0.00011384 | 0.00095743 | 0.00054094 | 0 | 0.0030187 | 0.00086142 | 0.00065669 | 0.00093657 | 142.6204
M2N4 | 0.01295 | 0.0097373 | 0.009284 | 0.0088052 | 0.011431 | 0.013996 | 0.012769 | 0.012355 | 0.0094789 | 0.013007 | 0.012022 | 0.011289 | 0.0018269 | 16.1835
N5N6 | 0 | 0.0043572 | 0.00082945 | 0 | 0.0027154 | 0.005867 | 0.007027 | 0.0016139 | 0.0058415 | 0.0059552 | 0.0029062 | 0.0037113 | 0.0024438 | 65.8476
N4N6 | 0 | 0.003382 | 0.0065075 | 0.007173 | 0.0054137 | 0 | 1.464e-05 | 0.0069876 | 0 | 0 | 2.0303e-05 | 0.0029499 | 0.003272 | 110.9209
N5N6 + N4N6 | 0 | 0.0077392 | 0.007337 | 0.007173 | 0.008129 | 0.005867 | 0.0070416 | 0.0086015 | 0.0058415 | 0.0059552 | 0.0029265 | 0.0066612 | 0.0016225 | 24.3582
The fitting of peaks M3N4 + Mg + M2N1 varies, but their sum is constant and equal to 0.0105
So we use the original ratios to diustribute the sum among the 3 peaks, giving:
| N4N5 | Meas 1: N4N6; Meas 2: Sum; Meas 9: Mz1; Meas 10: MZ2 | Sum
Original ratio | 0.5 | Meas 1: 0.5; Meas 3: We use ratio from heavier elements; Meas 8: Original ratio; Meas 9: 0.22965; Meas 10: 0.77035
Resulting weights: | 0.0033306 | Meas 1: 0.0033306; Meas 2: 0.0066612; Meas 8: Resulting weights:; Meas 9: 0.030436; Meas 10: 0.1021 | 0.13253
Without fixing the peaks above: |  | Meas 10: Fixing the peaks above: