## Sheet1
Weights calibrated measuring a pure Ti standard, bulk, polished
Area of all peaks is fitted
A constant shift is maintained across all peaks
Sigma is fixed for all peaks
Areas of peaks Ln and Ll fixed to previously fitted values
Ti |  | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10
La1 |  | 200.987 | 201.706 | 200.535 | 202.111 | 215.722 | 216.562 | 202.288 | 206.965 | 214.225 | 188.309
Ll |  | 323.589 | 324.746 | 322.862 | 325.398 | 347.313 | 348.665 | 325.683 | 333.214 | 344.902 | 303.177
Ln |  | 159.182 | 159.751 | 158.824 | 160.072 | 170.852 | 171.517 | 160.212 | 163.917 | 169.666 | 149.141
Lb1 |  | 57.594 | 55.004 | 49.115 | 56.4 | 50.315 | 55.423 | 54.233 | 49.893 | 55.913 | 53.512
Lg5 |  | 57.594 | 55.004 | 49.115 | 56.399 | 50.315 | 55.423 | 54.233 | 49.893 | 55.814 | 53.512
Lb3 |  | 8.748 | 0.004 | 36.568 | 26.024 | 37.629 | 18.704 | 33.085 | 28.255 | 18.014 | 0.001
Lb4 |  | 8.748 | 0.004 | 36.569 | 26.024 | 37.629 | 18.704 | 33.085 | 28.255 | 18.082 | 0.001
Line | Original w | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10 | Mean | Stdev | Er (%)
La1 | 1 | [10 empty] | 1 | bar: Meas 1 to Meas 10
Ll | 1.6234 | 1.61 | 1.61 | 1.61 | 1.61 | 1.61 | 1.61 | 1.61 | 1.61 | 1.61 | 1.61 | 1.61 | 2.5929e-06 | 0.00016105
Ln | 0.799 | 0.792 | 0.792 | 0.792 | 0.792 | 0.792 | 0.792 | 0.792 | 0.792 | 0.792 | 0.792 | 0.792 | 1.3727e-06 | 0.00017333
Ll + Ln | 2.4224 | 2.402 | 2.402 | 2.402 | 2.402 | 2.402 | 2.402 | 2.402 | 2.402 | 2.402 | 2.402 | 2.402 | 3.4644e-06 | 0.00014423
Lb1 | 0.28 | 0.28656 | 0.27269 | 0.24492 | 0.27905 | 0.23324 | 0.25592 | 0.2681 | 0.24107 | 0.261 | 0.28417 | 0.26267 | 0.018641 | 7.0966
Lg5 | 0.0124 | 0.28656 | 0.27269 | 0.24492 | 0.27905 | 0.23324 | 0.25592 | 0.2681 | 0.24107 | 0.26054 | 0.28417 | 0.26263 | 0.018645 | 7.0996
Lb1 + Lg5 | 0.2924 | 0.57311 | 0.54539 | 0.48984 | 0.5581 | 0.46648 | 0.51184 | 0.5362 | 0.48214 | 0.52154 | 0.56834 | 0.5253 | 0.037286 | 7.0981
Lb3 | 0.257 | 0.043525 | 1.9831e-05 | 0.18235 | 0.12876 | 0.17443 | 0.086368 | 0.16355 | 0.13652 | 0.084089 | 5.3104e-06 | 0.099963 | 0.068431 | 68.4567
Lb4 | 0.134 | 0.043525 | 1.9831e-05 | 0.18236 | 0.12876 | 0.17443 | 0.086368 | 0.16355 | 0.13652 | 0.084407 | 5.3104e-06 | 0.099995 | 0.068424 | 68.4272
Lb3 + Lb4 | 0.391 | 0.08705 | 3.9662e-05 | 0.36471 | 0.25752 | 0.34887 | 0.17274 | 0.32711 | 0.27304 | 0.1685 | 1.0621e-05 | 0.19996 | 0.13686 | 68.442
The fitting of peaks Lb3 + Lb4 varies, but their sum is more or less constant |  | Meas 6: The fitting of peaks Ll + Ln varies, but their sum is more or less constant
So we use the original ratios to diustribute the sum among the 2 peaks, giving: |  | Meas 6: So we use the original ratios to diustribute the sum among the 2 peaks, giving:
| Lb3 | Meas 1: Lb4; Meas 2: Sum; Meas 7: Ll; Meas 8: Ln; Meas 9: Sum
Original ratio | 0.65729 | Meas 1: 0.34271; Meas 6: Original ratio; Meas 7: 0.67016; Meas 8: 0.32984
Resulting weights: | 0.13143 | 0.068528 | 0.19996 |  |  |  | Resulting weights: | 1.6097 | 0.79227 | 2.402
| Lb1 | Meas 1: Lg5; Meas 2: Sum
Original ratio | 0.95759 | Meas 1: 0.042408
Resulting weights: | 0.50302 | Meas 1: 0.022277; Meas 2: 0.5253
|  | Without fixing the peaks above: | [8 empty] | Fixing the peaks above: